## Sheet1
Building | Level | Area | Lab | Fume Hood # | Remarks
2 | 4 | 4 | LFO 46 | Isolation Room (4854)
3 | 0 | 1 | NCL (Core Lab) | All fume hoods inside nanofabrication lab | ?
| 3 | 3 | ACL (Core Lab) | Fume hood 2400-FH-3303 EAV-3076 | Coated
|  |  |  | Fume hood 2400-FH-3304 EAV-3073 | Coated
|  |  |  | Fume hood 2300-FH-4310 EAV-3075 | Coated
| 3 | 6 | ACL (Core Lab) | Fume hood 2400-FH-3612 EAV-3040 | Coated
|  |  |  | Fume hood 2400-FH-3613 EAV-3039 | Coated
5 | 0 | 1 | Solar Center | ALL Fume Hoods | ?
| 3 | 1 | Solar Center | Fume hood 2700-FH-3101 | coated
|  |  |  | Fume hood 2700-FH-3102 | coated
|  |  |  | Fume hood 2700-FH-3103 | coated
|  |  |  | Fume hood 2700-FH-3104 | coated
|  |  |  | Fume hood 2700-FH-3115 | coated
|  |  |  | Fume hood 2700-FH-3112 | coated
|  |  |  | Fume hood 2700-FH-3113 | coated
|  |  |  | Fume hood 2700-FH-3114 | coated
|  |  |  | Fume hood 2700-FH-3105 | coated
|  |  |  | Fume hood 2700-FH-3106 | coated
|  |  |  | Fume hood 2700-FH-3107 | coated
|  |  |  | Fume hood 2700-FH-3108 | coated
|  |  |  | Fume hood 2700-FH-3109 | coated + Acid resistant
|  |  |  | Fume hood 2700-FH-3110 | coated
|  |  |  | Fume hood 2700-FH-3111 | coated
| 3 | 4 | Solar Center | Fume hood 2700-FH-3401 | coated + Acid Rresistant
|  |  |  | Fume hood 2700-FH-3402 | coated
|  |  |  | Fume hood 2700-FH-3403 | coated
| 4 | 4 | Clean Combustion (CCRC) | Canopy Hoods in rooms (Stoot Study, Flame Structure & Turbulent Flame)
7 | 0 |  | Clean Combustion (CCRC) | Fume hood 3300-FH-0001 | non coated
| 0 |  |  | Fume hood 3300-FH-0101 | non coated
| 0 |  |  | Fume hood 3300-FH-0303 | non coated
| 0 |  |  | Fume hood 3300-FH-0304 | non coated
| 0 |  |  | Fume hood 3300-FH-0302 | non coated