HSE PLAN

Insert Tenant Name

This HSE Plan is intended for the KRTP tenant indicated below and is intended as a guide for safe operations. This HSE Plan is not intended to replace or exempt the tenant from its HSE legal obligations that are prescribed by KSA regulators.

All fields highlighted below must be filled in!

| Tenant Name: | Insert Tenant Name |
| --- | --- |
| Company Executive/Head: | Insert Company Director or Head Name |
| Phone: | Insert Phone Number |
| Email: | Insert Email Address |

In accordance with the University HSE Policy, Executives, Managers, Principal Investigators, and Supervisors have a leadership responsibility, including providing adequate resources, training, and encouraging reporting. They are also responsible for stopping unsafe operations and fostering a culture of proactive HSE leadership. Tenant executives are therefore expected to ensure:

☐ 	Safe operations and adhere to the spirit of this HSE Plan

☐ 	Compliance with applicable legal HSE requirements

☐ 	Preparation and implementation of HSE Plan, that identifies the specific risks and the required controls (in the form of Standard Operating Procedures or SOPs)

☐ 	All persons working within the tenant facilities at KRTP are properly trained on this HSE Plan, and conform to HSE protocols at all times.

☐ 	Office-based users - are not required to complete the full HSE Plan and are only required to fill out this page.

☐ 	Laboratories and workshops - must complete the full HSE Plan.

Company Executive Signature:	____________________________

Date of Preparation:	Click or tap to enter a date.

Date of Next Review: 	Click or tap to enter a date.

(Note: the HSE Plan shall be reviewed/updated whenever significant new risks are introduced into the tenant operations at KRTP. Annual update of the HSE Plan is mandatory.)

Table of Content

1.	Introduction	5

1.1	KAUST HSE Policies and Procedures	5

1.2	HSE Plan	5

2.	tenant operations Description	5

2.1	Key Safety Personnel	6

2.2	Facility Access and Security	6

2.3	Hazard Door Signage	7

3.	Required hse Training	8

4.	Hazard Identification	10

4.1	Equipment Hazards	11

4.2	Chemical hazards	11

4.3	Compressed or Liquid gas	12

4.4	Ionizing and Non-Ionizing Radiation	13

4.5	Biological Materials	13

5.	Work Practices	14

5.1	General Safety Rules	14

5.2	Additional Safety Work Practices	14

6.	Personal Protective Clothing and Equipment (PPE)	14

6.1	Laboratory Footwear	14

6.2	Laboratory Coat	14

6.3	Eye Protection	15

6.4	Gloves	15

7.	Hazardous Waste Disposal	15

7.1	Chemical Waste	16

7.1.1	Satellite Accumulation Area	16

7.2	Biological Wastes	16

7.3	Radioactive Wastes	16

8.	facility Emergency Response	16

8.1	911 Notifications	16

8.2	Fire	16

8.2.1	If you discovery a fire or smoke	16

8.2.2	On hearing fire alarm	17

8.3	Medical Emergency	17

8.3.1	First Aid Kit	17

8.4	Chemical Spill	17

8.4.1	Incidental Chemical Spills	17

8.4.2	Major Chemical Spills	18

8.4.3	Chemical Spill Kits	18

Appendix A – Laboratory Floor Plan Example	19

Appendix B – Instructions for Writing Specific Standard Operating Procedures (SOPs)	20

Appendix C – Tenant Specific SOP Template	21

Appendix D – HSE Safety Plan Training Form	24

# Introduction

This HSE Plan has been prepared for the Insert Tenant Name; it provides specific information and instructions relevant to the tenant’s activities and the safe control of hazards resulting from these activities.

## KAUST HSE, Policies and Procedures

The purpose of KAUST HSE is Keeping KAUST safe and fostering an interdependent HSE culture. HSE Department is tasked with safeguarding KAUST’s most precious resources: people, environment, and infrastructure while building resilience and partnership within KAUST. HSE policies and procedures are available at the University Policy Website.

## HSE Plan

The HSE Plan serves as the general guide to tenant safe operations that are intended to protect people, assets and the environment.  It establishes basic safe operating guidelines and practices so that tenant may carry out its operations in a safe and healthy environment.

Each tenant where there is a risk of health or physical hazards is required to have a written HSE Plan to protect against hazards to personnel, property or the environment.  This includes operations having hazardous materials (chemical, biological or radioactive), high-pressure, high-energy, Laser, X-Ray, or other significant mechanical or electrical hazards.

The HSE Plan should outline the tenant-specific practices and procedures (Standard Operating Procedures or SOPs), personal protective equipment, emergency procedures and other safety requirements to protect employees from the hazards they may encounter in their operations.

The HSE plan serves as the basis for training of all team members of the tenant. In order to ensure that the HSE Plan remains current and up-to-date it should be regularly reviewed (no less than annually).

The Health, Safety, and Environmental Department does not review or approve tenant specific HSE Plan, it is the responsibility of the tenant to engage qualified safety professional in developing and implementing its HSE Plan.

# Tenant Operations Description

Tenant location(s):

| Building | Floor/Office |
| --- | --- |

Appendix A provides an illustration of typical floor plan, showing equipment arrangements, exits and location of emergency equipment, including:

- Fire Extinguishers

- Eyewash/Safety Showers

- Chemical Spill Kits

- First Aid Kits

A brief description of the tenant operations is below:

Insert brief description of the tenant’s purpose, function, activities, major equipment, etc.

## Key Safety Personnel

| Position | Name of Person | Phone Number |
| --- | --- | --- |
| Company Manager/Director | Insert information | Insert information |
| Safety Representative | Insert information | Insert information |
| Alternate Safety Representative | Insert information | Insert information |
| First Aider | Insert information | Insert information |

## Facility Access and Security

- The normal work hours of the tenant are shown below:

Insert Normal Tenant Operating  Hours, M-F

- The facility will be kept locked at all times when not in use.

- Access to the facility is restricted to only persons associated with the tenant.  Casual visitors are not permitted inside the tenant facilities without the permission of those responsible for operating the lab.

- Children under the age of 16 are not permitted inside the l tenant facilities unless they are accompanied by a supervising tenant team.

- It is recommended that all persons working in the tenant facilities during off-hours must sign the visitor log. The location of where the visitor log book is kept is:

Describe where Log book is kept.

- If hazardous operations are being conducted,  working alone is not recommended and the tenant shall have “buddy system” in place.

- All personnel are expected to comply with personal protective equipment (PPE) requirements based on tenant’s own risk assessment.

- Individuals associated with the tenant are required to meet the minimum training/competency requirements (see Section 3) prior to starting work.

- It is recommended that supplies of highly hazardous chemicals, stocks of biological agents and radioactive materials must be kept locked and secured when they are not under the direct control of tenant personnel.

## Hazard Door Signage

All entrances into the tenant facilities (e.g. labs, workshops) shall be marked to indicate the presence of hazardous materials, any personal protective equipment requirements, and the name and phone numbers of key contacts.

The Hazard Door Signage program can be accessed via the Salute Portal. All labs must maintain up to date lab door signage and revise them whenever key personnel or hazards found in the lab changes significantly or new hazards are introduced.

# Required Safety Training

Individuals working inside tenant facilities are required to complete the following Safety Training classes (please note, all lab faculty, staff, and students are required to take Laboratory Safety Training, Emergency Incident Preparedness Training and Hazardous Waste Training, in addition to any other training(s) identified below:

| Required | Training Subject | Required | Training Subject |
| --- | --- | --- | --- |
| ☐ | Laboratory Safety | ☐ | Faculty Health and Safety Responsibilities Training |
| ☐ | Hazardous Waste | ☐ | Electrical Safety |
| ☐ | Emergency Incident Preparedness | ☐ | General Workshop safety – Mechanical hazards |
| ☐ | Biological Safety Cabinet | ☐ | Field Research Program |
| ☐ | Biosafety | ☐ | Fume Hood Safety |
| ☐ | Bloodborne Pathogens Safety for the Lab Workers | ☐ | Handling Glassware Safety |
| ☐ | Compressed Gas Safety | ☐ | Lab Equipment Safety |
| ☐ | Flammable Liquid Safety | ☐ | Laboratory Inspections |
| ☐ | Hydrofluoric Acid | ☐ | Noise Awareness |
| ☐ | Interpreting Safety Data Sheets | ☐ | Pressurized Vessels in Research |
| ☐ | Liquid Nitrogen and Cryogenic Safety | ☐ | Respiratory Protection |
| ☐ | Nanomaterial Training | ☐ | Standard Operating Procedure |
| ☐ | Particularly Hazardous Substances | ☐ | Working in Hot Climate Heat Illness Prevention |
| ☐ | Peroxide Testing | ☐ | Laboratory Safety Representative Orientation |
| ☐ | Working With Reactive Chemicals | ☐ | Laser Safety |
| ☐ | Chemical Safety – Hazards identification | ☐ | Laser Safety Awareness |
| ☐ | Chemical Safety – Chemical Segregation | ☐ | Laser Safety Program Overview |
| ☐ | Chemical Spills | ☐ | Laser Hazard Evaluation |
| ☐ | Incident Reporting | ☐ | Ergonomic Awareness |
| ☐ | Emergency First Aid at Work | ☐ | Magnet Safety |
| ☐ | Fire Safety | ☐ | Microwave Oven Safety |
| ☐ | First Aid at Work | ☐ | Radioactive Material Safety |
| ☐ | 3D Printer Safety | ☐ | SEM and TEM |
| ☐ | Corrosive Materials Safety Training | ☐ | UV Safety |
| ☐ | Cold Bath Preparation | ☐ | X-Ray Analysis Equipment Safety |
| ☐ | General safety training | ☐ |  |
| ☐ | Environmental awareness training | ☐ |  |

In addition to the above listed safety training, individuals in the tenant facilities are required to complete tenant-specific safety training as well.  Individuals must be thoroughly familiar with specific Standard Operation Procedures (SOPs) for hazardous lab operations.  Refer to Section 4 - Hazard Identification.

All persons potentially impacted by the hazard are required to know and understand the required safety control measures.  Documentation shall be maintained to demonstrate that affected personnel have reviewed the SOP and agree to follow the recommended control measures.

The individual responsible for ensuring that the tenant facilities training records are properly maintained and up-to-date is: Insert Name of Individual Here

# Hazard Identification

This section identifies the different work activities that might occur in tenant facilities and the potential hazards associated with these activities.

It is the responsibility of the tenant manager/director or their designees to have suitable controls in place for anticipated hazards.  It is required that written Standard Operating Procedures (SOPs) be developed by the tenant to describe work methods and control measures necessary for the safe conduct of work.

A template for preparing tenant Specific Standard Operating Procedures is presented in Appendix B.

Safety Guidance Documents have been developed to assist lab personnel in the preparation of tenant specific SOPs.  tenant personnel have the option of adopting the recommended controls as written or they may modify or tailor the control methods to best fit the requirements of their individual operations.

In the tables below you will find common laboratory/facilities activities as well as the hazards usually associated with these activities.  For each listed activity-related hazard, recommended guidance documents are provided (hyperlink in Column D). The recommended guidance documents can also be found the HSE website: KAUST Health & Safety | Standard Operating Procedure (SOP).

## Equipment Hazards

A mark in column (B) signals the presence of this high hazard lab activity.

| (A) This activity is performed in the Lab | (B) Yes (Click to check) | (C) Hazard | (D) Recommended guidance documents (Ctrl + Click to follow link) |
| --- | --- | --- | --- |
| Work with electrical equipment. | ☐ | Shock, electrocution | Working with Electrical Equipment |
| Work around strong magnetic fields or NMR. | ☐ | Damage due to metal objects, low oxygen due to quench | Guidelines for Working Around Strong Magnetic Fields or NMR Instruments |
| Work with high pressure or vacuum apparatus. | ☐ | Implosion/explosion | Working with High Pressure and Vacuum Apparatus |
| Work with solvent distillation apparatus. | ☐ | Fire, explosion, chemical release | Working with Solvent still |
| Work with glassware. | ☐ | Laceration, eye injury | Working with Glassware |
| Work with autoclave. | ☐ | Burn, excess pressure | Guidelines for Using An Autoclave |
| Work with hot oil bath/other heating sources | ☐ | Burn, fire, explosion | Working with Oil bath |
| Work with 3D printers | ☐ | Powders, resins, emissions, electric shock, mechanical injuries, thermal, UV/laser light | Working with 3D Printers |

## Chemical Hazards

| (A) This activity is performed in the Lab | (B) Yes (Click to check) | (C) Hazard | (D) Recommended guidance documents (Ctrl + Click to follow link) |
| --- | --- | --- | --- |
| Use highly corrosive chemicals | ☐ | Chemical burn, reaction | Working with Corrosives |
| Use hydrofluoric acid. | ☐ | Burn, poison. | Working with Hydrofluoric Acid |
| Use mercury or mercury compounds | ☐ | Poison | Working with Mercury |
| Use highly toxic chemicals | ☐ | Poison | Working with Toxic |
| Use highly flammable liquids | ☐ | Fire, explosion | Working with Flammables |
| Use pyrophoric and water reactive chemicals. | ☐ | Fire, explosion | Working with Reactives |
| Use explosive or highly reactive chemical(s) | ☐ | Explosion, Fire | Working with Explosives |
| Use oxidizing agent(s) | ☐ | Fire, explosion | Working with Oxidizers |
| Use perchloric acid | ☐ | Fire, explosion | Working with Perchloric-acid |
| Use Nanomaterials | ☐ | Health Hazards, Fires | Working with Nanomaterials |
| Housekeeping and labelling containers | ☐ | General | Guidelines for Good Housekeeping and Labelling Containers |
| Perform Lead Decontamination | ☐ | Lead Exposure | Guidelines for Lead Decontamination |
| Perform Potentially Explosive Experiments | ☐ | Explosion, fire | Potential explosive experiments |
| Perform Scale-up Reactions | ☐ | Explosion, fire | Scale-up reactions |

## Compressed or Liquid Gas

| (A) This activity is performed in the Lab | (B) Yes (Click to check) | (C) Hazard | (D) Recommended guidance documents (Ctrl + Click to follow link) |
| --- | --- | --- | --- |
| Use Compressed Gas(es) | ☐ | Pressure hazards, poison, fire, explosion, etc. | KAUST Compressed Gas Safety Program |
| Use Cryogenic Liquids | ☐ | Asphyxiation, cold burn | Working with Cryogens |
| KAUST Compressed Gas Safety Program | ☐ | Any compressed gas work | KAUST Compressed Gas Safety Program |

## Ionizing and Non-Ionizing Radiation

| (A) This activity is performed in the Lab | (B) Yes (Click to check) | (C) Hazard | (D) Recommended guidance documents (Ctrl + Click to follow link) |
| --- | --- | --- | --- |
| Use unsealed radioisotopes Isotopes used:___________________ Max activity:________________ | ☐ | Contamination, radiation exposure | Ionizing Radiation Safety |
| Use sealed radioactive source Isotopes used: _________________ Max activity: ________________ | ☐ | Contamination, radiation exposure | Ionizing Radiation Safety |
| Use radiation generating equipment Identify Radiation Producing Equipment: _________________________________ Source:__________ Activity:_________ | ☐ | Radiation exposure | Ionizing Radiation Safety |
| Use lasers - Class 1 to 3R | ☐ | Eye injury, skin burns | Laser Safety and Non-ionizing Radiation Safety |
| Use lasers - Class 3B and/or 4 | ☐ | Eye injury, skin burns | Laser Safety and Non-ionizing Radiation Safety |
| Use Ultra Violet light sources | ☐ | Eye and skin burns | Laser Safety and Non-ionizing Radiation Safety |

## Biological Materials

| (A) This activity is performed in the Lab | (B) Yes (Click to check) | (C) Hazard | (D) Recommended guidance documents |
| --- | --- | --- | --- |
| Use BSL-1, BSL-2 microorganisms | ☐ | Infection of personnel | Biosafety |
| Use rDNA or genetically modified agents | ☐ | Release to environment | Biosafety |
| Use human sourced materials (blood, fluids, tissue, cell lines) | ☐ | Infection of personnel | Biosafety |
| Use of Plants | ☐ | Release to Environment | Biosafety |

# Work Practices

## General Safety Rules

The following work practices apply to all tenant personnel who use or enter this facility. This includes all visitors, cleaners and maintenance staff:

- All personnel entering the tenant facilities must wear proper personnel protective equipment.

- Do not bring food or drink for consumption into the laboratory areas or store it in laboratory refrigerators.

- Report any hazards, faults, incidents and injuries to the tenant manager/director or their designees.

- Follow tenant specific SOPs.

## Additional Safe Work Practices

The tenant has developed specific SOPs where additional work practices are needed to work safely.  Everyone in the tenant facilities is responsible for reviewing these SOPs and working in accordance with these requirements.

List here tenant specific SOPs

# Hazardous Waste Disposal

Listed below is a general description of the different hazardous wastes (chemical, biological, radioactive) generated by the laboratory. Additional information can be found in the KAUST Hazardous Waste Manual on the lab safety webpage: KAUST Health & Safety | Lab Hazardous Waste.

## Chemical Waste

List chemical waste(s) to be generated:

### Satellite Accumulation Area

A Satellite Accumulation Area has been designated in our facility. The Satellite Accumulation Area is the area where our hazardous chemical wastes are stored for pick-up. The Satellite Accumulation area must be at or near the point of generation and under the control of the hazardous waste generator. Hazardous wastes must be appropriately identified with clear and legible hazardous waste tags.  The location of the Satellite Accumulation Areas in our facility is given below:

Describe location of Satellite Accumulation Area(s).

## Biological Wastes

List types of biological waste to be generated

## Radioactive Wastes

List radioactive waste(s) that will be generated.

# Facility Emergency Response

For any emergency, including fires, chemical spills, injuries, accidents, explosions, and medical emergencies, dial 911 from any University phone, including blue-light phones located in common areas throughout campus.  If a University phone is unavailable or inaccessible during an emergency, dial 012-808-0911 from a mobile phone.  The 911 Dispatch Center will send appropriate responders (Fire, Security, and Medical) to the needed location.

## 911 Notifications

- Dial 911 from KAUST landlines or 012-808-0911 from mobile phones for all emergencies.

- Give the location of the event as clearly as possible.

- Indicate if ambulance is needed.

- Specify location where ambulance attendants, fire fighters or security will be met by the caller.

Do not hang up the phone until told to do so.

## Fire

University policy is such that individuals are not required to fight fires, but that those who choose to do so may fight small, incipient stage fires (no bigger than a wastepaper basket) as long as they have been trained in the proper use of fire extinguishers.

If you have been trained in the use of a fire extinguisher, fight the fire from a position where you can escape, and only if you are confident that you will be successful.

### If you discovery a fire or smoke

- Sound the alarm by pulling the nearest fire alarm pull station or warn others by verbal means.  The pull station(s) closest to our laboratory are located:

- Describe Nearest Fire Alarm Pull Stations

- Call 911 from KAUST landlines or 012-808-0911 from mobile phone.

- Evacuate the building using the nearest exit and make your way to the designated assembly point.

- Close doors behind you.

- Do not re-enter the building until you have been told it is safe to do so.

### On hearing fire alarm

- Leave the building by nearest available exit.

- Close all doors behind you.

- Report to the designated assembly point.

- Do not re-enter until you have been told it is safe to do so.

- The assembly point for our facility is located:

Describe labs Evacuation Assembly Points.

## Medical Emergency

In the event of any injury or illness where medical assistance is needed, contact 911 from KAUST landline or 012-808-0911 from mobile phone.  KAUST Emergency Medical Services will provide ambulance transport, if appropriate.

- Protect the victim from further injury or harm by removing any persistent threat to the victim or by removing the victim to a safe place if needed, however do not move the victim unnecessarily. Do not delay in obtaining trained medical assistance if it is safe to do so.

- Provide first aid until help arrives if you have appropriate training and equipment, and it is safe to do so.

Send someone outside to escort emergency responders to the appropriate location, if possible.

### First Aid Kit

A First Aid Kit is available to the facility personnel.  The nearest First Aid Kit for our facility is located:

Describe location of First Aid Kit

## Chemical Spill

When a chemical spill occurs, it is necessary to take prompt and appropriate action. The type of response to a spill will depend on the quantity of the chemical spilled and the severity of the hazards associated with the chemical. The first action to take is to alert others in the lab or work area that a spill has occurred. Then you must determine if the spill can be safely cleaned up by laboratory staff without the help of outside responders.

### Incidental Chemical Spills

A spill is considered incidental if the criteria below are met:

Physical:

- The spill is a small quantity of a known chemical.

- No gases or vapours are present that require respiratory protection.

Equipment:

- You have the materials and equipment needed to clean up the spill.

- You have the necessary proper personal protective (PPE) equipment available.

Personal:

- You understand the hazards posed by the spilled chemical.

- You know how to clean up the spill.

- You feel comfortable cleaning up the spill.

### Major Chemical Spills

A major spill is any chemical spill for which the researcher determines they need outside assistance to safely clean up a spill.

If you have any doubts about your ability to clean up a chemical spill safely, then call 911. Trained spill responders are available 24 hours a day, 7 days a week.

Actions to be taken when a major spill occurs:

- Alert people in the immediate area of the spill and evacuate the room.

- If an explosion hazard is present, do not unplug, or turn electrical equipment on or off – doing so can result in a spark and ignition source.

- Confine the hazard by closing doors as you leave the room.

- Use eyewash or safety showers as needed to rinse spilled chemicals off people or yourself.

- Evacuate any nearby rooms that may be affected. If the hazard will affect the entire building, then evacuate the entire building by pulling the fire alarm.

- Notify the Fire Department by calling 911 or 012-808-0911 from a cell phone. Always call from a safe location.

- Make Safety Data Sheet (SDS) for spilled material available to responders.

### Chemical Spill Kits

For emergency purposes, a chemical spill kit is maintained in the following location(s)

In the facility:

Describe location of Chemical Spill Kit

# Appendix A – Laboratory Floor Plan Example

Laboratory:

40C Cold room

Autoclave

-800C Freezer

Class II  BSC

Hand washing sink

Fume Hood

Laboratory Coat Hooks

-200C Freezer

Documents Cabinet

CO2 Gas Cylinders

CO2 Incubator

Emergency

Exit Only

Arrows indicate emergency exit from the laboratory

# Appendix B – Instructions for Writing Specific Standard Operating Procedures (SOPs)

What is a Standard Operating Procedure (SOP)?

A Standard Operating Procedure (SOP) is a written instruction that describes work methods and required control measures for conducting a specific procedure, operation or process.

What is the purpose of an SOP?

The purpose of an SOP is to provide written documentation of the various laboratory-specific work methods, operations or processes that are conducted within the lab. The development and use of SOP’s promotes more thorough and consistent application of needed safety control measures. SOP’s also help to assure conformance to good laboratory practices, reduce work error, and improve data comparability, credibility, and defensibility.

What situations require a written SOP?

Written SOPs should be developed for all routine or repetitive activities, processes, operations where there is potential hazard to lab personnel.  Some examples of lab activities where SOPs are needed include:

- Working with electrical equipment.

- Working with high pressure or vacuum apparatus

- Operating an autoclave.

- Operating solvent distillation equipment.

- Handling hazardous chemicals (flammable, oxidizer, highly toxic, reactive, etc.)

- Working with compressed gases or cryogenic liquids.

- Using unsealed radioactive materials (32P, 14C, 3H, etc.).

- Working with Class IIIB, IV lasers.

Who should write an SOP?

SOPs should be written by tenant personnel who are knowledgeable with the procedure, analysis or operation. These individuals are essentially subject-matter experts who actually perform the work or use the process. A team approach can also be followed, especially for multi-tasked processes where the experiences of a number of individuals are critical.

# Appendix C – Tenant Specific SOP Template

Name of Procedure: _______________________________________________________________

SOP Prepared By:	_________________________________ Date: __________________________

Brief description of process, operation, activity:

Location:  This procedure may be performed at the following location(s):

Hazards:  Briefly describe possible hazards associated with this procedure. This includes chemical hazards, physical hazards, equipment related hazards, etc.

Engineering Controls:  Prior to performing this procedure, the following safety equipment must be available, functioning properly and ready to use.

|  | (Click if Yes) |  | (Click if Yes) |
| --- | --- | --- | --- |
| Chemical Fume Hood | ☐ | Biological Safety Cabinet | ☐ |
| Glove Box | ☐ | Laminar Flow Hood | ☐ |
| Snorkel Device | ☐ | Bench Top Dust Enclosure | ☐ |
| Ventilated Gas Cabinet | ☐ | Radiation Shielding | ☐ |
| Flammable Gas Monitor | ☐ | Toxic Gas Monitor | ☐ |
| Safety Interlock | ☐ | Low Level Oxygen Monitor | ☐ |
| Safety Shower | ☐ |  |  |
| Eyewash Station | ☐ |  |  |
| Fire Extinguisher | ☐ |  |  |
| Other (Describe) |  |  |  |

Personal Protective Equipment (PPE):  The following personal protective equipment must be used while performing this procedure:

|  | (Click if Yes) |  | (Click if Yes) |
| --- | --- | --- | --- |
| Laboratory Coat | ☐ | Chemical Apron | ☐ |
| Safety Glasses | ☐ | Chemical Splash Goggles | ☐ |
| Full face Shield | ☐ | Laser Goggles | ☐ |
| Cryogenic Gloves | ☐ | Heat Resistant Gloves | ☐ |
| Disposable Gloves Type | ☐ |  |  |
| Chemical Resistant Gloves (Describe Type)___________________________________________________ |  |  |  |
| Respirator (Describe Type)________________________________________________________________ |  |  |  |

Training Required:  The following training is required as part of the SOP:

|  | (Click if Yes) |  | (Click if Yes) |
| --- | --- | --- | --- |
| Chemical Spill Training | ☐ | Laboratory Safety Training | ☐ |
| Electrical Safety Training | ☐ | Laser Safety Training Radiation Safety Training | ☐ |
| Flammable Liquid Safety Training | ☐ | Safe Fume Hood Use Training | ☐ |
| Hazardous Waste Training | ☐ | Safe Handling of Liquid Nitrogen | ☐ |
| Hydrofluoric Acid Awareness Training | ☐ |  |  |
| Other Training (Describe)_________________________________________________________________ |  |  |  |
| _____________________________________________________________________________________ |  |  |  |

Emergency Procedures (Briefly discuss the specific procedures to be followed if emergency situations arise from the process/procedure. Describe steps to take in case of accidental spill, splash, exposure, etc.)

Waste Disposal (Outline waste materials to be generated and appropriate waste management procedures for the work).

# Appendix D – HSE Safety Plan Training Form

- (This form should be completed and signed by each person working with the tenant that is covered by this HSE Plan and kept on file with the tenant manager/director. Print additional copies as needed.)

- The following was discussed and understood during the lab specific safety training with the Center Director or Principal Investigator:

The contents of this HSE Plan.

Individual responsibilities of all personnel in the tenant operations.

Required HSE training.

Locations and operation of the facility specific safety equipment (fire extinguishers, fire blankets, safety showers, eye wash).

Tenant specific SOPs for hazardous operations and use of hazardous chemicals.

How to handle emergency situations.

How to report incidents, injuries, and near misses.

- By signing below I certify that I reviewed and understood this HSE Plan, met with the tenant manager/director to discuss the items noted above, and had the opportunity to ask questions about any items that were unclear to me.

| - Print Name | - KAUST ID | - Signature | - Date |
| --- | --- | --- | --- |